# Supplementary materials for

Occurrence of unapproved pesticides and their ecotoxicological significance for an agriculturally influenced reservoir and its tributaries in Nepal

Suman Acharya1, 3*, Hari Ram Upadhayay2, Michael Houbraken3, Roshan Man Bajracharya4, Pieter Spanoghe3

1Department of Environment and Genetics, School of Agriculture, Biomedicine and Environment, La Trobe University, Albury/Wodonga Campus, Victoria, 3690, Australia

2 Net Zero and Resilient Farming, Rothamsted Research, North Wyke, Okehampton, EX 20 2SB, UK

3Laboratory of Crop Protection Chemistry, Department of Plants and Crops, Faculty of Bioscience Engineering, Ghent University, Ghent, Belgium.

4 Department of Environmental Science and Engineering, Kathmandu University, Dhulikhel, Nepal

* Correspondence to: Suman Acharya, Department of Environment and Genetics, School of Agriculture, Biomedicine and Environment, La Trobe University, Albury/Wodonga Campus, Victoria, 3690, Australia

E-mail: sumanach01@gmail.com

Fig. S1 Agriculture is practiced in the well-maintained terraces by the small holding farmers in Indra Sarowar catchment with (a) patchy cropping practices, (b) deposited surface sediment sampling and (c) empty pesticides containers observed in the stream of Indra Sarowar catchment.

Table S1 General characteristics of sampling sites in Indra Sarowar reservoir catchment, Nepal. For site ID location see in Fig. 1.

| Name of stream/ reservoir | Site ID | Distance from agriculture field (m) (L = left side, R = right side) | Sample metrics | Anthropogenic impact (% agricultural land) | Flow* (m3 s-1) | Sediment contribution (%) from agriculture land** |
| --- | --- | --- | --- | --- | --- | --- |
| Palung | P-1 | L=10, R=15, no buffer strip in both side | Water, sediment | 10 |  |  |
|  | P-2 | L=20, R=22, no buffer strip in both sides | Water, sediment | 25 |  |  |
|  | P-3 | L=30, R=42, buffer strips present in both sides | Water, sediment | 40 |  |  |
|  | P-4 | L=30, R=40, buffer strip presents in left side | Water, sediment | 35 |  |  |
| Tistung | T-1 | L=10, R=10, no buffer strips in both sides | Water, sediment | 70 |  | 75 |
|  | T-2 | L=7, R=8, no buffer strips in both side | Water, sediment | 60 |  |  |
|  | T-3 | L=10, R=12, no buffer strips in both sides | Water, sediment | 65 |  |  |
| Bishenkhel | B-1 | L=10, R=11, no buffer strips in both sides | Water, sediment | 55 |  |  |
|  | B-2 | L= 50, R= >100, buffer strips present in both sides | Water, sediment | 65 |  |  |
| Chitlang | C-1 | L= 9, R=10, no buffer strips in both sides | Water, sediment | 21 |  | 26 |
|  | C-2 | L= >100, R= >100, buffer strips in both sides | Water, sediment | 30 | 0.7-4.6 | 20 |
| Indra Sarowar (Reservoir) | R-C |  | Water, cage fish | 40 |  |  |
|  | R-O |  | Water, open stock fish | 40 |  |  |

*July 2003- Sep 2004 (Sangroula, 2005)

** (Upadhayay et al., 2018)

Table S2 Operating conditions for LC-MS/MS and GC-ECD.

| LC-MS/MS | GC-ECD |
| --- | --- |
| Column Waters HSS T3 (1.8 µm) Injection volume 10 µL Oven temperature 40°C Mobile phase A Water + 10 mM ammoniumacetate Mobile phase B Acetonitrile+0.1% formic acid Flow 0.4 mL.min-1 Gradient 0-0.25 min 2% solvent B 0-7 min linear gradient to 98% solvent B 7-8 min 98% solvent B 8-9 min linear gradient to 2% solvent B 9-10 min 2% solvent B Detector Triple quadrupole mass spectrometer Interface Electrospray ionization Potential 5000 V Temperature 500°C Scan Type MRM (Multiple Reaction Monitoring Mode) Collision gas Argon | Column HP-5MS (5% phenyl methyl siloxane) 30 m × 0.25 m × 0.25 µm film thickness Mobile phase Helium Flow 1.1 mL. min-1 Temperature gradient Initially 60 °C 20°C min-1 to 150°C 15°C min-1 to 250°C 2 min at 250 °C 30°C min-1 to 270°C 10 min at 270°C 30°C min-1 to 280°C 11 min at 280°C Injection temperature 200°C Injection mode Split (ratio 52.7:1) Detector Electron Capture Detector (ECD) Temperature detector 250°C |

Table S3 List of target pesticides and their recovery in various environmental compartments.

| Pesticides | Recovery ± SD (%) |  |  | Instruments |
| --- | --- | --- | --- | --- |
|  | Sediment | Water | Fish |  |
| Acetamiprid | 105.5 ± 4.74 | 100.73 ± 8.65 | 126.31 ± 6.52 | LC-MS/MS |
| Alachlor | 70.87 ± 11.29 | 72.76 ± 9.57 | 145 ± 14.55 | GC-ECD |
| Aldrin | 101.44 ± 7.35 | 32.85 ± 11.06 | 82.22 ± 2.34 | GC-ECD |
| Amethryn | 81.13 ± 3.38 | 49.51 ± 11.10 | 93.45 ± 2.29 | LC-MS/MS |
| Azoxystrobine | 134.63 ± 8.49 | 117.23 ± 4.07 | 83.85 ± 9.14 | LC-MS/MS |
| Bentazon | 70.83 ± 14.06 | 85.38 ± 13.90 | 73.75 ± 7.81 | LC-MS/MS |
| Bifenthrin | 129.23 ± 4.81 | 40.65 ± 12.96 | 81.32 ± 1.41 | GC-ECD |
| Bitertanol | 39.50 ± 3.14 | 48.77 ± 4.90 | 65.00 ± 9.17 | LC-MS/MS |
| Boscalid | 111.83 ± 10.24 | 118.27 ± 10.24 | 143.43 ± 6.06 | LC-MS/MS |
| Butachlor | 92.13 ± 5.85 | 94.25 ± 14.92 | 97.95 ± 9.16 | LC-MS/MS |
| Cadusafos | 114.13 ± 2.06 | 93.70 ± 7.58 | 116.44 ± 10.21 | LC-MS/MS |
| Carbaryl | 116.44 ± 13.04 | 101.30±13.80 | 93.24±10.05 | LC-MS/MS |
| Carbendazim | 27.25 ± 1.44 | 88.75 ± 11.00 | 81.00 ± 1.22 | LC-MS/MS |
| Carbofuran | 116.75 ± 6.96 | 91.81 ± 10.07 | 120.69 ± 2.60 | LC-MS/MS |
| Chloorthalonil | 118.50 ± 1.22 | 53.65 ± 10.05 | 39.65 ± 9.26 | GC-ECD |
| Chlorpyrifos | 58.25 ± 7.12 | 52.65 ± 5.83 | 85.46 ± 27.28 | LC-MS/MS |
| Cymoxanil | 91.27 ± 11.86 | 79.78 ± 9.89 | 83.03 ± 11.60 | LC-MS/MS |
| Cypermethrin | 84.01 ± 3.29 | 38.69 ± 13.14 | 60.2 ± 3.09 | GC-ECD |
| DDD / Endosulfan-β | 109.33 ± 4.22 | 81.16 ± 6.03 | 51.77 ± 5.83 | GC-ECD |
| DDE | 133.46 ± 3.99 | 48.55 ± 8.21 | 115.45 ± 7.38 | GC-ECD |
| Deltamethrin | 86.00±4.00 | 92.00±4.00 | 76.00±4.00 | GC-ECD |
| o,p’- DDT | 117.23 ± 5.68 | 59.23 ± 9.70 | 98.05 ± 4.89 | GC-ECD |
| p,p’- DDT | 148.19 ± 3.32 | 33.76 ± 3.31 | 95.01 ± 8.46 | GC-ECD |
| Diazinon | 87.25 ± 2.75 | 81.99 ± 3.20 | 91.08 ± 4.95 | LC-MS/MS |
| Dieldrin | 110.72 ± 3.95 | 87.20 ± 8.36 | 75.37 ± 2.89 | GC-ECD |
| Difenconazole | 58.38 ± 7.60 | 41.93 ± 13.23 | 79.84 ± 9.27 | LC-MS/MS |
| Dimethoate | 87.38 ± 5.91 | 90.30 ± 4.89 | 60.72 ± 2.60 | LC-MS/MS |
| Dimethomorph | 84.44 ± 2.38 | 102.96 ± 14.01 | 92.60 ± 12.22 | LC-MS/MS |
| Diuron | 83.81 ± 4.30 | 108.53 ± 6.78 | 79.96 ± 6.08 | LC-MS/MS |
| Endosulfan-α | 138.32 ± 3.72 | 83.66 ± 6.59 | 78.55 ± 0.91 | GC-ECD |
| Endrin | 132.62 ± 5.15 | 94.83 ± 4.4 | 125.91 ± 5.91 | GC-ECD |
| Ethoprophos | 137.50 ± 8.32 | 107.20 ± 11.54 | 137.43 ± 4.77 | LC-MS/MS |
| Fenamiphos | 92.50 ± 9.40 | 99.34 ± 11.63 | 113.19 ± 10.57 | LC-MS/MS |
| Fenbuconazole | 70.75 ± 5.87 | 60.44 ± 5.68 | 82.46 ± 9.78 | LC-MS/MS |
| Fenpropimorph | 101.67 ± 10.41 | 99.43 ± 9.31 | 57.09 ± 9.78 | LC-MS/MS |
| Hexachlorobenzen | 104.23 ± 6.28 | 76.80 ±7.89 | 102.85 ± 1.87 | GC-ECD |
| Hexaconazole | 46.63 ± 2.56 | 64.60 ±10.09 | 86.58 ±10.56 | LC-MS/MS |
| Imazalil | 84.83 ± 8.56 | 76.17± 8.80 | 75.96 ±12.21 | LC-MS/MS |
| Imidacloprid | 103.25 ± 5.32 | 56.69 ± 8.77 | 120.69 ± 5.12 | LC-MS/MS |
| Iprodione | 44.75 ±14.50 | 76.83 ± 4.64 | 84.98 ± 9.62 | LC-MS/MS |
| Kresoxim-methyl | 72.66 ± 4.59 | 81.53 ± 10.34 | 78.78 ± 8.02 | LC-MS/MS |
| β-HCH | 47.19 ± 6.31 | 96.26 ± 11.85 | 98.53 ± 3.28 | GC-ECD |
| Linuron | 89.50 ± 5.15 | 109.65 ± 4.26 | 104.45 ± 12.21 | LC-MS/MS |
| Malathion | 92.17 ± 9.52 | 106.70 ± 12.71 | 90.37 ± 9.33 | LC-MS/MS |
| Metalaxyl | 131.13 ± 9.45 | 136.49 ± 9.80 | 139.81 ± 5.66 | LC-MS/MS |
| Methiocarb | 100.00 ± 11.30 | 69.15 ± 9.61 | 100.07 ± 4.31 | LC-MS/MS |
| Methoxychlor | 49.56 ± 9.91 | 84.21 ± 7.59 | 62.86 ± 5.98 | LC-MS/MS |
| Methsulfuron methyl | 96.25 ± 9.46 | 71.91 ± 5.43 | 88.53 ± 9.04 | LC-MS/MS |
| Metribuzin | 93.75 ± 7.23 | 61.11 ± 7.27 | 100.07 ± 2.56 | LC-MS/MS |
| Monocrotophos | 76.00 ± 4.81 | 38.45 ± 9.02 | 108.70 ± 4.66 | LC-MS/MS |
| Nicosulfuron | 79.50 ± 8.60 | 70.50 ± 8.61 | 90.11 ± 5.22 | LC-MS/MS |
| Oxamyl | 75.13 ± 6.16 | 87.93 ± 11.29 | 62.97 ± 25.44 | LC-MS/MS |
| Pendimethanil | 67.70± 9.77 | 80.27 ± 12.47 | 68.41 ± 12.97 | LC-MS/MS |
| Pirimicarb | 41.50 ± 5.57 | 79.24 ± 5.64 | 95.95 ± 3.24 | LC-MS/MS |
| Prochloraz | 31.50 ± 4.77 | 36.30 ± 7.63 | 86.96 ± 7.14 | LC-MS/MS |
| Profenofos | 70.25 ± 1.85 | 83.80 ± 8.43 | 81.96 ± 6.92 | LC-MS/MS |
| Propanil | 80.88 ± 5.74 | 104.38 ± 5.00 | 91.45 ± 10.49 | LC-MS/MS |
| Propiconazole | 74.38±6.34 | 73.28±8.28 | 76.38 ± 12.26 | LC-MS/MS |
| Propoxur | 115.75 ± 4.77 | 89.07 ± 8.13 | 126.44 ± 2.29 | LC-MS/MS |
| Pyraclostrobine | 92.25 ± 5.01 | 109.20 ± 12.30 | 121.44 ± 14.30 | LC-MS/MS |
| Pyrazosulfuron ethyl | 57.13 ± 9.20 | 79.11 ± 8.20 | 89.13 ± 5.58 | LC-MS/MS |
| Pyrimethanil | 134.17 ± 9.24 | 80.28 ± 5.78 | 86.12 ± 9.79 | LC-MS/MS |
| Spinosad A | 81.10 ± 2.97 | 37.23 ± 0.48 | 58.21 ± 1.21 | LC-MS/MS |
| Spinosad D | 73.10 ± 6.11 | 39.55 ± 0.29 | 70.50 ± 7.01 | LC-MS/MS |
| Spiroxamine | 78.17 ± 10.52 | 57.67 ± 10.78 | 33.98 ± 2.29 | LC-MS/MS |
| Tebuconazole | 55.63 ± 3.28 | 71.36 ± 6.00 | 78.96 ± 16.85 | LC-MS/MS |
| Tebuthiuron | 92.38 ± 5.14 | 95.05 ± 6.98 | 100.82 ± 4.64 | LC-MS/MS |
| Terbuthryn | 73.00 ± 6.07 | 41.43 ± 6.33 | 101.95 ± 8.48 | LC-MS/MS |
| Thiabendazole | 85.59 ± 6.62 | 98.42 ± 8.01 | 75.12 ± 3.76 | LC-MS/MS |
| Thiametoxam | 87.00 ± 4.30 | 74.26 ± 6.78 | 117.44 ± 4.82 | LC-MS/MS |
| Thifensulfuron | 40.65 ± 5.78 | 122.72 ± 12.80 | 25.99 ± 0.87 | LC-MS/MS |
| Thiodicarb | 77.25 ± 5.95 | 77.91 ± 8.40 | 51.47 ± 7.55 | LC-MS/MS |
| Triademinol | 50.50 ± 4.38 | 69.76 ± 7.38 | 67.09 ± 6.97 | LC-MS/MS |
| Triazophos | 118.83 ± 9.83 | 107.90 ± 9.69 | 124.44 ± 9.00 | LC-MS/MS |
| Trifloxystrobine | 87.13 ± 9.20 | 64.45 ± 8.96 | 122.44 ± 13.44 | LC-MS/MS |

Table S4 PNEC values of pesticides quantified in the water and sediment from Indra Sarowar reservoir and its tributaries.

| Pesticides | Acute toxicity data (µg L-1) |  |  | PNEC (µg L-1) |
| --- | --- | --- | --- | --- |
|  | Algae | Invertebrate | Fish |  |
| Alachlor | 966 | 10000 | 1800 | 9.66 |
| Boscalid | 3750 | 5330 | 2700 | 27 |
| Cypermethrin | 66.7 | 0.21 | 1.51 | 0.0021 |
| DDT | - | 5 | 2500 | 0.05 |
| Deltamethrin | 0.47 | 0.56 | 0.15 | 0.0015 |
| Diuron | 2.7 | 5700 | 6700 | 0.027 |
| Endosulfan - α | 2150 | 440 | 2 | 0.02 |
| β - HCH | 2500 | 1600 | 2.9 | 0.029 |
| Iprodione | 1800 | 660 | 3700 | 6.6 |
| Metalaxyl | 420 | 3470 | 960 | 4.2 |
| Pyrimethanil | 1200 | 2900 | 10560 | 12 |

Table S5 Physico-chemical properties of pesticides: solubility (S) at 20˚C, octanol-water partition coefficient (log Kow), bioconcentration factor (BCF) and aqueous hydrolysis (DT50 at 20˚C and pH 7) (Source: (Lewis et al., 2016)).

| Pesticides | Class | S (mg L-1) | Log Kow | BCF (L kg-1) | DT50 (days) |
| --- | --- | --- | --- | --- | --- |
| Alachlor | Herbicide | 240 | 3.09 | 39 | 1 – 2 |
| Boscalid | Fungicide | 4.6 | 2.96 | 107 | stable |
| Cypermethrin | Insecticide | 0.009 | 5.55 | 331 | stable |
| DDT | Insecticide | 0.006 | 6.91 | 3173 | - |
| Deltamethrin | Insecticide | 0.0002 | 4.6 | 1400 | stable |
| Diuron | Herbicide | 35.6 | 2.87 | 9.45 | stable (~50) |
| Endosulfan-α | Insecticide | 0.32 | 4.75 | 2755 | non-persistent (20) |
| β-HCH | Fungicide | – | – | – | – |
| Iprodione | Fungicide | 6.8 | 3.0 | 70 | 4.5 |
| Metalaxyl | Fungicide | 8400 | 1.75 | 7 | persistent (106) |
| Pyrimethanil | Fungicide | 110 | 2.84 | Low risk | stable |

References

Lewis, K. A., Tzilivakis, J., Warner, D. J. & Green, A. (2016). An international database for pesticide risk assessments and management. Human and Ecological Risk Assessment, 22 (4), 1050-1064.

Sangroula, D. P.: 2005, Sedimentation and sustainability of the Kulekhani reservoir. A Himalayan case., Department of Hydraulic and Environmental Engineering, Norwegian University of Science and Technology (NTNU).

Upadhayay, H. R., Smith, H. G., Griepentrog, M., Bodé, S., Bajracharya, R. M., Blake, W., Cornelis, W. & Boeckx, P. (2018). Community managed forests dominate the catchment sediment cascade in the mid-hills of Nepal: A compound-specific stable isotope analysis. Sci. Total Environ., 637–638, 306-317.