Real-time field measurements of bioaerosols in the agricultural environment: Concentrations, components and environmental impacts

Zhuo Chen1*, Ian Crawford1, Emily Matthews1, Michael Flynn1, Thomas Bannan1, Laura Cardenas2, Jon S West3, Hugh Coe1, David Topping1, Martin Gallagher1

1Department of Earth and Environmental Sciences, The University of Manchester, Manchester M13 9PL, UK

2Rothamsted Research, North Wyke, Okehampton, EX20 2SB, UK

3Rothamsted Research, Harpenden, AL5 2JQ, UK

E-mail address: zhuo.chen-2@manchester.ac.uk

# Abstract

In agricultural production, bioaerosols inevitably pose health hazards to animals and workers. Currently, there is a lack of research on real-time bioaerosol concentration monitoring at agricultural sites. We conducted a real-time airborne bioaerosol measurement study using the Multiparameter Bioaerosol Spectrometer (MBS) and applied a Uniform Manifold Approximation and Projection (UMAP) approach to classify bioaerosol emissions from the North Wyke Farm Platform between April and May. Penicillium and Cladosporium were the most dominant fungi. Another machine learning approach, Generalized Additive Model (GAM) was also constructed to explore the relationship with meteorological data and selected trace gases. It was found that animal houses and agricultural fields were the main sources of bioaerosols, and significant dispersion was observed downwind of these point sources. Two main bioaerosol types were Cladosporium and Penicillium, which accounted for 29.8% and 24.1% of the total, respectively, and showed a 78% and 43% increase in concentration in animal house sources compared to agricultural fields sources, respectively. And both bioaerosols are more active at temperatures above 15°C and relative humidity above 80%.

These results may provide recommendations for detection and identification of bioaerosol composition and emission patterns in the agricultural environments, and emission profiles associated with animal farms to provide better understanding for agricultural regional planning and public health perspectives.

Keywords: Bioaerosols, Agriculture, Machine learning, Detection.

INTRODUCTION

As defined by (Whitby et al., 2022) bioaerosols are “suspensions of airborne particulate matter of biological origin (BioPM), representing a distinct category of aerosols”. They can be defined as suspended airborne particles that are emitted by living organisms (Crawford et al., 2023; GSJ et al., 2023). They contain diverse biological particles with a wide range of sizes such as pollen (10-100 μm) (Bennett and Willis, 2001), bacteria (0.2-10 μm) (Katz et al., 2003), fungal spores (2-50 μm) (Patel et al., 2018), viruses (< 0.2 μm) (Grgacic and Anderson, 2006). Due to the small aerodynamic diameter of some airborne bioaerosols, they can easily enter the body through the respiratory  system and be deposited in the lungs (GSJ et al., 2023; Sajjad et al., 2023). Prolonged exposure can lead to respiratory diseases such as asthma and even severe organ damage (Bennett and Willis, 2001; Maya-Manzano et al., 2021; Sauvageat et al., 2020). Bioaerosols can also act as cloud condensation and ice nuclei, accelerating the rate of cloud and precipitation formation (Tang et al., 2022; Uetake et al., 2019). Cloud formation and rainfall, in turn, can further influence regional climate, as well as local bioaerosol release contributing to the so-called bio-precipitation cycle (Bigg et al., 2014).

Meanwhile, human agriculture activities, and natural agricultural bioaerosol emissions also have an impact on local and regional air quality and ecosystems (Sabban and van Hout, 2011). In the livestock industry, processes such as feed preparation, animal activity and manure management all lead to increased concentrations of bioaerosols, especially fungi, and bacteria, in the farming area (Kumar et al., 2024). Subsequent dispersion into the atmosphere through ventilation equipment poses a major challenge to the diversity and concentration of bioaerosols in the surrounding area (Kumar et al., 2021; Kumar et al., 2024). Elevated concentrations of bacteria, fungi, and endotoxins were reportedly detected downwind of intensive farms (Gladding et al., 2020; Ko et al., 2008). For example, zoonotic pathogens and antibiotic-resistant bacteria (e.g. Escherichia coli and Staphylococcus aureus) can be detected in the atmosphere within 150-200 meters of pig and poultry farms (Gibbs et al., 2006; Kumar et al., 2024). However, for the time being, it remains uncertain whether farm-sourced bioaerosols pose a health risk to the public. Radon et al. (2007) noted a corresponding increase in asthma prevalence around the animal house as exposure to animal feeding operations. However, Smit et al. (2014) showed a statistically negative correlation between PM concentrations around the farm and public health outcomes. The UK Environment Agency reported in 2008 that chicken coops have the highest emission rates for total microorganisms, fungi and endotoxins. Fungi and bacteria were detected above background values at distances of 200 and 400 meters from the barns (Scaife et al., 2008). Also, for livestock barns, the more frequent the animal activity, the more bioaerosols are emitted (Scaife et al., 2008).

Based on the serious challenges posed by bioaerosols to the agricultural sector, rapid monitoring and characterisation of bioaerosol particles is of great importance. Based on the physical and chemical characteristics of bioaerosols, such as size, fluorescence spectra, absorption spectra, and shape, a series of single particle on-line detection system have recently been developed. The advantage of such systems is that they enable detection of relatively low concentrations of bioaerosol particles within generally larger ambient concentrations of other atmospheric aerosol particles (Pan et al., 2022). Currently, the key technology being applied for online detection of airborne bioaerosols are based on single particle ultraviolet light induced fluorescence (UV-LIF) spectrometry (Gabbarini et al., 2019; Huffman et al., 2020). The Multi-Parameter Bioaerosol Spectrometer (MBS) employed in this study is such an typical instrument based on this technology (Foot et al., 2008).

The interpretation of results generated by real-time monitoring instruments involves two aspects: first, the use of dimensionality reduction classifiers to categorize data into more distinguishable classes, and second, the application of statistical models to quantify and visually represent the relationship between bioaerosols and meteorological factors. In this manuscript, we employ Uniform Manifold Approximation and Projection (UMAP) for dimensionality reduction to classify data from the MBS (Crawford et al., 2023; McInnes et al., 2018). UMAP has been demonstrated to exhibit robust classification performance (Crawford et al., 2023; Crawford et al., 2020; Zhao et al., 2024). By reducing dimensionality, it preserves both global and local relationships within the data, making the classification process more concise and accurate (Mpaka and von der Heyden, 2024). After obtaining the classified data, we introduce the Generalized Additive Model (GAM), proposed by Hastie and Tibshirani, to construct models for feature parameters (whether linear or nonlinear) (Hastie, 2017; Yan et al., 2024). Traditional regression models, such as linear regression, are not particularly effective in capturing nonlinear relationships between meteorological parameters and aerosol concentrations (Cheng et al., 2021). While deep learning models such as neural network models can achieve more accurate results, they require significantly greater computational resources and time (Du et al., 2022). In comparison to these two types of statistical models, GAM outperforms regression models in capturing nonlinear relationships while providing relatively accurate and interpretable results with less computational time (Lundberg and Lee, 2017). Consequently, GAM is also widely applied in atmospheric pollutant monitoring and impact assessment (Cheng et al., 2021; Qi et al., 2021; Ramsey et al., 2014).

Kumar et al. (2024) noted that although much research has been done, little is known about the bioaerosol species, exposure levels, and their environmental impacts within feedlots and dispersal areas. To elucidate these knowledge gaps, here we conducted a focussed ambient sampling experiment using an MBS to monitor concentrations of bioaerosols in real-time dispersed downwind of an animal farm, the North Wyke Farm Platform (NWFP). The aims of the experiment were to evaluate a) the bioaerosol species detected in the agricultural area; b) the identification of their sources; c) the quantification of the relationship between detected bioaerosol, meteorological parameters and select trace gases using a machine learning approach. Through these objectives, the quantification of real-time bioaerosol species and the observation of their impacts on the environment can deepen the understanding of the composition of bioaerosols in the agricultural sector and provide a basis for future decision-making on scientific management and land use, as well as provide a reference for the risk assessment of these agricultural facilities.

METHODS

Sampling Location

The North Wyke Farm Platform (NWFP) is situated at the North Wyke grassland site of Rothamsted Research (location: 50°46’10” N, 3°54’05” W), 20 km north of Dartmoor National Park, which is the largest upland area in south-west England (Orr et al., 2011). NWFP comprises three farming systems in “farmlets”, each consisting of five component catchments totalling approximately 21 ha per farmlet. These farmlets are used to monitor soil, livestock and silage performance (Hawkins et al., 2023a). Figure 1 shows a summary map of NWPF farm station and the associated land management regions (Hawkins et al., 2023b).

Figure 1 The North Wyke Farm Platform fields. Farmlets and land use and management are shown with: High sugar grass areas outlined in red, white clover mix area outlined in blue, permanent pasture areas are outlined in green. The purple boxed sections highlight the cattle and sheep. The location of the bioaerosol instrument measurements (MBS) is indicated by the asterisk (orange).

The asterisk indicates the location of the MBS instrument on the ‘Top Burrows’ field, which is elevated compared with the surrounding fields. To the north-west of the instrument lies several livestock sheds which were housing cattle and sheep during the measurement period. The surrounding fields are a mixture of arable and pastoral land.

Sampling Methods

Modulair sensor for atmospheric pollutants

- A QuantAQ sensor (Modulair) was used to continuously measure CO, NO₂, O₃, and size resolved particulate matter (PM) concentrations. Also included in this sensor system is a measure of internal temperature and relative humidity, and a Global System for Mobile Communications unit for sending logged data to an external database. The sensor system was coupled with a Davis® Sonic Anemometer to provide in-situ wind direction and wind speed measurements. Prior to deployment at North Wyke, the sensor underwent calibration and verification with scientific grade reference instrument at the NERC Air Quality Supersite in Manchester (Diez et al., 2024; Diez et al., 2022). The sensor was mounted at a height of 2 metres within 200 metres of the MBS detector. Data were processed using the QUANT AQ dashboard and exported for further analysis.

The multiparameter bioaerosol spectrometer

The Multiparameter Bioaerosol Spectrometer (MBS) is a biofluorescence spectrometer developed by the University of Hertfordshire. By analysing the autofluorescence spectra, size, and morphological parameters of single particles it is possible to detect and classify bioaerosol particles in real time. Current research has demonstrated that the outputs of real-time measurement instruments with similar technology are in good agreement with offline fungal tracers (Gosselin et al., 2016). In this study, we calibrate the size and fluorescence performance of MBS by using standard and fluorescent doped PSLs following the approach described previously for similar UVLIF spectrometers (Wideband Integrated Bioaerosol Sensors, WIBS), giving by Robinson et al. (2013) and Crawford et al. (2015). The MBS detection principle is briefly described below. An optically filtered xenon flash lamp (280 nm) is used to excite individual aerosol particles in the sensing area through deep ultraviolet (UV) excitation; the resultant autofluorescence is detected via a grating spectrometer and multichannel photodetector over 8 bands in the 315-640nm range. This configuration covers the emission ranges of several key biofluorophores commonly found in bioaerosol of interest at 280 nm excitation which are now listed (Könemann et al., 2019):

- Tyrosine: 310 ± 20 nm;

- Tryptophan: 365 ± 40 nm;

- Riboflavin: 520 ± 30 nm;

- Chlorophyll b: 640 ± 10 nm.

Ambient air is drawn into the instrument at a total flow rate of 1.8 L min⁻1 through an inlet tube. 1.5 L min-1 of the airflow is filtered and used as bleed flow and sheath flow. The bleed flow is used to keep the inner optical chamber clean, and the sheath flow is used to constrain the remaining sample flow (0.3 L min−1). The constrained sample flow provides a single file of collimated aerosol for the detection system. A single particle carried in the sample flow is first detected and sized by a low power laser beam (12 mW, 635 nm) in the 0.5-15 µm diameter range via Mie scattering. A second high power pulsed laser (250 mW, 637 nm) will be triggered when particles in this size range are detected. The high-power laser illuminates the particles with sufficient intensity to detect the morphology of particles via a dual 512-pixel complementary metal-oxide-semiconductor (CMOS) image sensor array. The array can collect the scattered light from the illuminated particle and construct two cross-sectional chords from the 2D profile of the scattering pattern. Particle morphological parameters are automatically generated from the CMOS distributions which are now described (Crawford et al., 2020):

- Peakwidth: An estimate of the average width of the array peak.

- Peakmean: The ratio of the peak to mean parameters.

- Mirror: A measure of scattering symmetry between top and bottom half of each array.

- AsymLR: A measure of the scattering symmetry between the left and right arrays.

- AsymLRinv: Same with AsymLR, however the right hand array is inverted.

10 µs after this initial detection, the xenon flashlamp is triggered which illuminates the particle with a UV pulse at 280 nm for approximately 1 µs. Any autofluorescence generated by this UV excitation is focused with two hemispherical mirrors onto a grating spectrometer to segregate the fluorescence by wavelength and this spectral signal is recorded by an 8-channel photomultiplier tube (PMT). The maximum strobe rate of the xenon flashlamp is approximately 125 Hz, limiting the maximum acquisition rate. However, this upper limit is rarely approached in practice so is still sufficient for expected ambient concentrations (Crawford et al., 2023).

The fluorescence threshold is defined by the forced trigger (FT) cycle, where the xenon flashlamp is strobed at 10 Hz in the absence of particles during a "pump off" phase to determine the optical system background noise levels. The MBS is run in "forced trigger" mode for 10 seconds at the start of each new data file, where a new file is stared every 30,000 particles. The average of the FT spectral data + 7 standard deviations is used to define the threshold for each channel (referred to as the 7σ threshold), which is then subtracted from the acquired data in post processing, and any negative result are set to zero. The value of 7σ retains most of the biofluorescence while rejecting non-biological interfering particles that are normally weakly fluorescent (Crawford et al., 2023; Savage et al., 2017). Additionally, the particle must also satisfy the 7σ threshold in at least two channels to be classified as fluorescent to remove false positives arising from spurious reflections and noise (Crawford et al., 2023; Könemann et al., 2019).

Data Preparation

A brief summary of the meteorological, trace gas and bioaerosol data collected in the experiment is shown in the Table 1.

|  | Units | Mean | Min | Max |
| --- | --- | --- | --- | --- |
| Bioaerosol | Numbers/L | 44 | 0 | 2050 |
| Relative Humidity (RH) | % | 69.8 | 33.5 | 87.5 |
| Temperature (T) | °C | 10.4 | 3.4 | 18.8 |
| Wind Direction (WD) | ° | / | 0 | 360 |
| Wind Speed (WS) | m/s | 3.6 | 0 | 17.0 |
| CO | ppm | 192.14 | 148.59 | 1850.31 |
| NO | ppb | 1.96 | 1.32 | 29.16 |
| NO2 | ppb | 7.81 | 1.34 | 29.01 |
| O3 | ppb | 39.72 | 14.55 | 53.72 |

Table 1 Summary of meteorological parameters and trace gas concentration data during sampling period.

Meteorological and trace gas data were recorded at one-minute intervals, single particle bioaerosol counts were averaged over 5-minute periods. We extracted the meteorological and trace gas data corresponding to the bioaerosol sampling time and merged them with the bioaerosol data. The merging method was to map the meteorological data corresponding to the time points of sampling of bioaerosols. Subsequent calculation of hourly averages for the data was done by vector averaging for wind direction. The OpenAir package in R was used to produce distribution polar plots of the various aerosol and trace gas parameters (Carslaw and Ropkins, 2012).

Bioaerosol Classification Method

The Uniform Manifold Approximation and Projection for dimension reduction (UMAP) was used to classify particulate matter captured by MBS into more broadly representative BioPM species (McInnes et al., 2018). UMAP downscales and compresses the spectral data and the CMOS morphological provided by MBS into 2D space and optimises the results using the training data, constructing a transformed space with a high degree of spatial separation for each of the classification results. Since UMAP achieves optimal performance when all input features are on a similar scale, each parameter was normalized based on its expected maximum value. The MBS training data used for UMAP were provided by experiments previously conducted at the ChAMBRe simulation chamber facility as described in detail by Crawford et al. (2023). The same analysis structures and procedures were adopted as described by Crawford et al. (2023) to discriminate bioaerosol classes. The basic fluorescence criteria for acceptance of MBS single particle data as potential biofluorescent aerosols for subsequent classification required fluorescence threshold intensity to 1) exceed a the 7σ threshold and 2) exhibit the fluorescence in at least two of the MBS fluorescence wavebands.

Generalized Additive Model (GAM)

GAM extends the framework of generalized linear models (GLMs) by replacing linear   predictors with additive smooth functions (Hastie, 2017; Herman and Hastie, 1990). The fundamental formulation follows:

gEyi=β0+f1X1+f2X2+f3X3+⋯+fnXn#1

where g() is the link function; Eyi denotes the conditional expectation of the response variable; β0 is the intercept; Xn is the explanatory variables; fn() is the smooth function.

fn() in GAM is a core tool for defining nonlinear smooth terms for independent variables, allowing the model to automatically learn nonlinear relationships through a data-driven approach.

In this experiment, we used the python-based pyGAM package for model construction (Servén and Brummitt, 2018). Created a single-factor GAM formula based on Equation 1, which is Equation 2:

gYi=β0+Sx1+Sx2+Sx3+⋯+Sxn#2

Where Yi is the Processed bioaerosol data; S() is the spline term, which has a penalty on their 2nd derivative, which encourages the functions to be smoother (Servén and Brummitt, 2018). xn represents meteorological and trace gas data been collected. The data itself needs to pass the variance inflation factor (VIF) test to eliminate multicollinearity before importing it where the VIF value >5 would indicate multicollinearity. The VIF test is done by SPSS (Landau and Everitt, 2003).

Model Development

Box-Cox Transform

It was found that the data distribution of the raw bioaerosol data was right-skewed due to low atmospheric bioaerosol concentrations which was limited by the instrumental sample volume. We therefore applied the Box-Cox transformation to the data (Loaiza et al., 2023; Sakia, 1992). To explain the superiority of this data transformation, we illustrate it by introducing the Akaike Information Criterion (AIC) where a smaller AIC value indicates a better model performance  (Akaike, 1987). After testing, the Box-Cox transformed data contributed to smaller AIC values (-11237 and -10296). Quantile-Quantile plots (QQ-plots) of the data distribution before and after the Box-Cox transformation, consistent with the Gamma distribution, are provided in the appendix. This is consistent with the general trend observed in environmental pollution data, which often follow Poisson or Gamma distributions (Cheng et al., 2021; Yan et al., 2024).

Model Training and Evaluation

To ensure robust performance evaluation, the dataset was partitioned using a 5-fold cross-validation scheme (Anguita et al., 2012; dos Santos et al., 2021). 80% of the observations (4-fold) were used for training and 20% (1-fold) for testing in each iteration. The random state was set to 42.

For the model training, based on the API pyGAM application manual, we selected hyperparameters for each spline term, which include “n_splines” and “lam”. Among these two, “n_splines” indicates the number of splines to use for the feature function and “lam” indicates the strength of smoothing penalty (Servén and Brummitt, 2018). The choice of these two parameters is based on a hyperparameter optimization package called Optuna, which allows users to search the best hyperparameter match in the set time period (Akiba et al., 2019).

The evaluation of the model is based on two indicators, mean square error (MSE) and coefficient of determination (R2). For MSE, the equation can be written as:

MSE=1ni=1nfxi-yi2#3

The lower the MSE value the better model performance (Chai and Draxler, 2014). The model selection is based on the higher R2 value and lower MSE value.

RESULTS AND DISCUSSION

  - UMAP Classification Results

The classification results based on the UMAP downscaled two-dimensional map, are shown in Figure 2. We then defined the boundary of the transform space for each classification as twice the mean of the standard deviations of the x, y components, written as 2σx,y in Figure 2 (right). The training data for the model refer to Crawford et al. (2023), and we use the same framework here. Based on the labels of the ChAMBRe training data, the classification results were categorized into the following categories: “Nettle”, “Bacteria”, “Penicillium”, “Cladosporium”, “Unclassified” and “Non-bacteria bioaerosols” where the “Unclassified” and “Non-bacteria bioaerosols” were bioaerosol species that are not precisely defined or potentially strongly fluorescing interferents.

Figure 2 Left: Devon data classification dimension reduce into 2D space. Right: 2D density scatter plot of the Devon data in the transformed space. The radius of the classification boundary for each category was defined as twice the mean standard deviation of the x and y components of each category 2σx,y.

The classification of the fungal kingdom is clear. Both Cladosporium and Penicillium are in their own transformed space. However, there was a high degree of convergence in the classification of bacteria. Some were distinguished as overlapping non-bacteria bioaerosols and bacterial particles. These conflated particles may be potential fungal particles. Unclassified particles were linked in three taxonomic spaces, especially between fungal spaces. A small number of particles located on the right side of the two-dimensional space during the sampling period were classified as nettle; the low counts observed is consistent with the start of the nettle pollen season in southwest England.

Figure 3 Compared training data and environmental data, presented as box and whisker figures. Whiskers represent 5 % / 95 %. Ith: fluorescent intensity at wavelength x [nm];∑I: sum of Ith ; Dp: particle diameter; AsymLR: symmetry between left and right CMOS arrays; AsymLRinv: as AsymLR, but with the right array inverted; Peakmean: ratio of peak to mean CMOS array values; Peakwidth: estimate of the mean width of the array, defined as mid-point between mean and peak values; Mirror: measure of symmetry between top and bottom half of each array.

Figure 3 compares the particle fluorescence response and morphological parameters between the ambient sample and training data. In the laboratory samples used as training data, bacteria rarely displayed fluorescence in the fifth to eighth fluorescence channels, therefore any particles initially classified as bacteria with fluorescence detected in channels 5-8 are rejected from the bacteria classification in post processing based on the laboratory results of Crawford et al. (2023). After rejecting this fraction of particles, further examination of the remaining subset revealed that some particles within the bacterial classification showed a fluorescent response in channel 4; based on procedure described in Crawford et al. (2023), the intensity of fluorescence in channel 4 (461 nm) should not be greater than that of channel 3 (414 nm) for bacterial particles. An additional filter is applied to the bacterial subset, where any particles where the intensity of the 4th channel exceeds that of the 3rd channel are also rejected from the bacterial classification.

Bacterial particles rejected by post processing were relabelled as “Non-bacteria bioaerosols”. It maybe that these “Non-bacteria bioaerosols” may arise due to optical alignment drift, differences in the emission characteristics of the detected spores, or as a result of atmospheric or other processing. Generally, the rejected bacterial particles share characteristic similarities to Penicillium spores, and are likely misclassified Penicillium or fungal spores with similar characteristics.

According to the UMAP classification results, the most dominant class was Cladosporium, which accounted for 29.8% of the total detected aerosols, followed by Penicillium with 24.1% of the total detected aerosols. The fungal spores represented by Cladosporium and Penicillium together accounted for 54% of the total. Bacteria is the next most abundant at 7.5% contribution to the fluorescent population, while the lowest was Nettle pollen, at 0.1%. The remaining “Unclassified” results accounted for 19.1% and the “Non-bacteria bioaerosols” class accounted for 19.3%. Potential fungal spores were included in the “Non-bacteria bioaerosols” class, which implies that the actual fraction of fungal spores is greater than 54%. These two detected fungi are also noted in the UK Environment Agency report as the main types of fungi present on farms (Scaife et al., 2008).

  - Temporal and Spatial Distribution of Bioaerosol Number Concentrations

Figure 4 Illustrates temporal variations in atmospheric concentrations of distinct microbial categories recorded between April 13 and 29, 2024. Plot a): hourly rolling averages of classified fungi; shaded areas indicate farmland sources (southwest) and animal house sources (northeast), respectively; b): box and whisker plot of three classified bioaerosols concentration comparation between the direction from the farmland and animal house. Whiskers denote the 5th and 95th percentiles; c): the time series of temperature versus relative humidity; d): the time series of CO (ppm) and O3(ppb); shaded areas indicate farmland sources (southwest) and animal house sources (northeast), respectively.

Figure 4 shows the time evolution of the classified data and meteorological parameters from April 13th to 29th. According to Figure 4a, prior to 21st April, three bioaerosol classes originated mainly in the direction of agricultural land. Significant increases in concentration between April 24th and April 27th were seen followed by a gradual decline, maintaining elevated residual concentrations. The animal house source episodes clearly overlap with significant concentration enhancements. Among the fungal spores, the Cladosporium and Penicillium classes have similar variations. Both fungal spore types showed several peaks in concentration between April 20th and 27th, with large fluctuations during April 27th. Similarly, there were more peaks and higher concentrations in the direction of the animal house than in the direction of the farmland. This finding suggests that the release of bioaerosols is influenced by animal and human activities within the animal house area. Additionally, the diurnal variation curve of Cladosporium concentrations shown in Supplementary Figure S5 does not align with the natural release pattern of these spores, which typically exhibit high emissions between 11 a.m. and 2 p.m. (Stępalska and Wołek, 2009). Instead, an increase in emissions is observed between 7 a.m. and 10 a.m., coinciding with peak worker/animal activity. Meanwhile, following April 27th, significant livestock behavioral events were recorded at the station. Bacterial concentrations were observed to be relatively low with initially little variability. Similarly, April 21st the animal house direction showed a larger peak. Further comparing the concentration values of the two sources, as shown in the box plot in Fig. 4b, all three classified bioaerosol classes exhibit higher median values in the animal house sector. Previous studies have reported that 90% of emitted particulates associated with animal husbandry are in the form of bioaerosols, the main sources of which include feed, litter, and excreta, with bacterial components including Salmonella, Staphylococcus, E.coil etc. (Gohel et al., 2024). It is reasonable to assume that these feeding-related products and biowaste are likely to have produced the main bacterial species detected downwind of the animal house by the MBS. Changes in meteorological parameters show periodicity. Preliminary analysis shows that the bioaerosol concentration increases during the time periods when the temperature has increased. Figure 4d shows the curves for ozone and CO, with a significant peak in CO on 18 April, which could be instrumental noise.

Figure 5 Polar map for Bacteria, Cladosporium and Penicillium concentrations. The numbers on the circles in the figure represent wind speeds in m/s. The legend on the right represents the bioaerosol concentration per five minutes (L-1).

The spatial distribution of the concentrations of the main bioaerosol classes are shown in Figure 5. The polar plots for the two main bioaerosol species, Cladosporium and Penicillium, both show clear areas of high concentrations in the northeast, while Bacteria, although less concentrated overall relative to the other two fungal species, were also a strong source in the northeast. However, the Cladosporium and Penicillium classes also exhibit sources to the southwest with a much stronger Cladosporium source appearing at higher wind speed, in particular, bioaerosol emissions are strongest at wind speeds of 5-15 m/s. Overall, all three bioaerosols shared a common point source of emissions in the direction of the northeastern animal house, and all were detected diffusing downwind. However, the transport distance of the emissions has not been determined.

  - Single-Factor Modeling of Bioaerosols and Environmental Variables

    - Spearman Analysis

Figure 6 shows the Spearman's correlation coefficient analysis results, which can determine the possible correlation between selected bioaerosol classes, in this case fungal spores, meteorological parameters and trace gases were the focus of the analysis. Between the meteorological parameters, relative humidity (RH) was positively correlated with fungal spores, and temperature (T), wind speed (WS), and wind direction (WD) were all negatively correlated. The statistical significance of all meteorological parameters were less than 0.001. Among the range of trace gases measured, CO, NO and NO2 showed positive Spearman correlation coefficients. However, the correlation for NO2 was not significant. O3 showed a significant negative Spearman's coefficient.

Figure 6 Heat map of Spearman's correlation between meteorological factors, trace gases and fungal spore concentrations. (*** is p < 0.001, ** is p < 0.01, * is p < 0.05)

Among the trace gases, the nitrogen dioxide, NO2 P value was larger than 0.05, but could not pass the significance test. The nitric oxide, NO, Spearman value was relatively close to 0. After comprehensive analysis it was decided to that these three variables were not significant in this particular data set. Prior to introducing the remaining variables to the GAM model, it was necessary to test for the presence of multicollinearity between the individual predictor parameters. Multicollinearity affects the fitting performance of the model and can be judged by the VIF value. Through testing, RH, T, WD, WS, CO and O3 VIF values were all less than 5, indicating they can be used in the GAM regression model.

    - GAM and SHAP Analysis

When using UMAP classified fungal spore concentrations as response variables, the explanatory variables include RH, T (°C), WD, WS, CO (ppm) and O3 (ppb). In the single factor model, the R2 value for Penicillium and Cladosporium on the test set were 0.36 and 0.34, and MSE were 0.005 and 0.006. The partial dependence plot (PDP), was then used which shows the marginal effect of the different features on the model predictive outcomes (Friedman, 2001). The result for two different fungal spore species acts with each response parameter in the model is shown in Figure 7.

Figure 7 Partial dependence plots (PDP) of two fungi species and environmental variables (including meteorological factors and trace gas data). The y-axis represents the degree to which bioaerosols respond to environmental variables. The x-axis denotates measured values of each factor. The blue line represents the response curve, and the red dotted line represents the 95 % confidence interval.

For Penicillium, Relative Humidity (RH) (Edof = 17.1, P ˂ 0.001), trends show an increase in fungal concentrations at high humidity. Temperature (Edof = 20.7, P ˂ 0.001) showed two peaks, which were between 6 °C and 10 °C and greater than 15 °C. Overall, Penicillium concentrations increased with increasing temperature. Source location, based on wind direction (WD) and wind speed (WS) (Edof = 16, P ˂ 0.001; Edof = 18.7), matched the results shown in the polar map. Most of the Penicillium particles were found to be concentrated within wind directions 0 - 90° indicating they were significantly influenced by the proximity of animal housing, and with increased wind speeds, showing a significant positive response, particularly for wind speeds greater than 10 m/s. Carbon monoxide (CO) (Edof =9, P ˂ 0.001) and Ozone (O3) (Edof = 25.8, P ˂ 0.001) concentrations showed a non-linear response, where the positive effects of CO and O3 on fungal spore concentrations diminished with increasing concentration.

For Cladosporium, Relative Humidity (RH) (Edof = 23.2, P ˂ 0.001) showed a similar trend to Penicillium. However, concentrations of Cladosporium spores were more readily observed when RH was less than 50%.  Temperature (Edof = 12.6, P ˂ 0.001) curves, in contrast, showed that Cladosporium was more inactive at lower temperatures (< 8 °C) relative to Penicillium, whereas the positive effect was more pronounced at greater than 16 °C. Wind direction and wind speed (Edof = 11.5, P ˂ 0.001; Edof = 7.1, P ˂ 0.001) showed the source location for these particles was mainly from the animal house area. Meanwhile, the highest contribution to the particle concentrations were observed in the WS range 15 to 17 m/s. Carbon monoxide (Edof =10.2, P ˂ 0.001) and Ozone (Edof = 3.7, P ˂ 0.001) have similar pattern as Penicillium, especially for O3 which will be discussed in more detail below.

The overall model predictions are significant, However, the R2 metrics are not high due to the size of the database, but the model results reproduce the observed patterns well.  The results are consistent with both Penicillium and Cladosporium spores being produced in humid conditions and released passively, which means that higher wind speed and lower RH would favour their release after a period of high humidity. Typically, these conditions occur during a night and day cycle.

The specific contribution of each parameter to the variation of the GAM model can be visualised by the SHapley Additive exPlanations (SHAP) values (Lundberg and Lee, 2017). The magnitude of the effect of each parameter can be quantified by the absolute SHAP value. Figure 8 displays the ranked impacts of each parameter on two fungal spore concentrations.

Figure 8 SHAP Analysis of Influential Factors.

Our analysis shows that for both fungal spores, O₃ is the most important model parameter associated with changes in Cladosporium and Penicillium concentrations. We used the model to capture the fact that at a lower ozone concentration window (35-50 ppb), increases in ozone concentration can still negatively affect fungal spore release. This concentration window corresponds to common atmospheric ozone concentrations in many non-urban ecosystems, e.g. average ozone concentrations around 35 ppb in rural central England (Derwent et al., 2010). In Supplementary Figure S5, the diurnal variation curves of the two bioaerosols exhibit high emissions during the early morning and evening hours, with relatively low emissions at midday and in the afternoon. In contrast, the diurnal variation of ozone shows the opposite pattern. Additionally, it has been observed that in different wind sectors, particularly in the direction of agricultural fields, there is a lag of approximately 1 to 1.5 hours following bioaerosol emissions. This suggests that photochemical reactions involving ozone may influence the biological activity of certain bioaerosols. This conclusion can be extended to a more environmentally representative range of concentrations, suggesting that current atmospheric ozone concentrations are sufficiently high to affect fungal spore release. Despite the lack of real-time emission measurements to quantify ozone-fungal spore interactions in the fields, this field-validated pattern is consistent with the findings of laboratory studies under high-concentration conditions. (Despite the lack of exploration of the mechanisms of ozone exposure from low-concentration bioaerosols in controlled environments, this field-validated model is consistent with the results of laboratory studies at high concentrations.) In a controlled laboratory environment, Korzun et al. (2008) explored the impact of ozone on Cladosporium spp.. Their findings revealed that exposure to very high ozone concentrations ranging from 11-12 ppm significantly compromised the survival of Cladosporium spp.. The extent of conidial viability reduction was directly proportional to the duration of ozone exposure. Wen et al. (2020) compared the total nitrogen (TN) content in a suspension of fungal spores after ozone inactivation and found that the TN content in the suspension increased after 10 minutes of ozone application, demonstrating that ozone disrupts cellular integrity. In outdoor urban environments, Yang et al. (2024) noted that during high ozone episodes (HO episodes, ozone concentration: 102.3 ± 66.2 μg m-3), a significant negative correlation was found between ozone concentrations and total airborne microbe (TAM) concentrations and that most of the bioaerosols were in the form of fine particles (< 2.1 μm). Mechanistically, ozone destroys microbial DNA as well as cellular structure, and research has shown that the structure of atmospheric Gram-negative bacterial communities can be regulated by atmospheric ozone concentrations (Wang et al., 2020; Xu et al., 2017). Based on this, some studies have applied ozone as a method of suppressing fungal hazards in livestock houses. A study of dairy farms in the province of Giza found that fumigation at 80 ppm ozone for ten minutes or 20 and 40 ppm for twenty minutes significantly inhibited the growth of fungi and bacteria and was more economical and efficient technique than traditional antimicrobials (Hassan et al., 2017). Despite the consistency between the modelled and laboratory analyses of ozone impacts, it is still important to consider that there may be some ‘noise’ in the correlations, as concentrations of background airborne spores arriving from more distant windward sources may be released from one hour to several days earlier than the sample time under different conditions (Hirst et al., 1967). Further assessment of the effect of ozone on fungal spore release and transport will requires additional measurements to identify sources within the animal house.

CO ranked fourth in the Penicillium model and third in the Cladosporium model, and it is worth noting that CO has a negative effect on Penicillium concentration and more positive feedback on Cladosporium concentration. Interpretation of this phenomenon requires caution and may be due to synergistic effects of carbon monoxide with other trace gases or as a potential CO2 transformation pathway affecting fungal activity, or simply an artifact of effects such as wind speed. It has been observed that under CO2 enrichment conditions, the involvement of ozone affects the enzymatic activity of fungal spores, which could also be one of the underlying causes (Chung et al., 2006). However, we still cannot confirm with this data set whether CO will influence the concentration of fungal spores in the atmosphere.

To further investigate the links between environmental variables and bioaerosol concentrations, Figure 9 shows the orthogonal distance regression (ODR) analysis between the two fungal spores, from the direction of the animal house and the farmland, respectively, and the environmental parameters.

Figure 9 Orthogonal Distance Regression (ODR) plots of Penicillium and Cladosporium concentrations (L-1) versus environmental parameters. Each fungal species was divided into two source directions, animal house (WD 0-90) shown in blue and farmland (WD 180-270) shown in green. The χ² value was calculated for each fitted curve.

For Penicillium and Cladosporium, the deviation of the fit between the data points and meteorological data in the direction of the animal house was small, whereas the deviation of the fit in the direction of the farmland was large. Notably, for Cladosporium, relative humidity had a positive effect on the concentration, especially at RH of 75% or more, which was particularly noticeable in the direction of the animal house. The release pattern of Cladosporium is confirmed by most studies to be inhibited at high relative humidity (Almeida et al., 2018; Grinn-Gofroń et al., 2019). The opposite trend in the present study may be due to 1) Higher relative temperatures (and therefore lower RH)  in the animal house compared to the outdoor area, and better release of Cladosporium at higher temperatures; 2) Insect activities in the animal house, as well as feed, straw mattresses, and faeces, may also be potential sources (Breitenbach and Simon-Nobbe, 2002; Nicoletti et al., 2024).

Research has also been shown that the presence of a critical humidity between RH values of 43% and 11% inhibits the growth of Cladosporium when the RH is in a high (97%) - low (less than 50%) cycle (Tang et al., 2015). Therefore, in indoor environments such as animal houses, controlling cyclic changes in relative humidity (e.g. using dehumidifiers, maintaining air circulation) can be used as a strategy to achieve suppression of fungal growth.

  - Implications for Bioaerosol Impacts and Management

This study is the first to conduct real-time monitoring of bioaerosol concentrations within a single animal housing and the surrounding farmland area in the UK, generating a unique dataset on bioaerosol emission concentrations caused by animal activity behavior. Machine learning methods were employed to classify the monitored bioaerosols, yielding reliable results, which saved time and reduced labor costs. Additionally, the study captured the impact of various environmental variables on bioaerosol concentration changes under natural conditions.

Regarding the two primary bioaerosols, Cladosporium and Penicillium, their small particle size facilitates deposition in the upper respiratory tract of farm workers and livestock, potentially causing a range of allergic reactions and pulmonary diseases (Bamotra et al., 2025; Calderón-Ezquerro et al., 2025). Weryszko-Chmielewska et al. (2018) also observed the potential for unknown composition crystalline structures to readily attach to the surface of Cladosporium spores, which may lead to the disruption of the spore structure and the introduction of environmental chemicals into the spores, altering the properties of the allergenic proteins and increasing the amount of allergens released. In statistical studies in the UK and Europe, Cladosporium has been shown to cause a high allergy risk at airborne concentrations above 3,000 spores per cubic metre (Breitenbach and Simon-Nobbe, 2002; Sadyś et al., 2016). Allergic reactions caused by Cladosporium are predominantly nasal congestion, which can lead to sinusitis and upper respiratory tract infections (Bamotra et al., 2025; Weryszko-Chmielewska et al., 2018). Penicillium, on the other hand, has been found to cause epidermal infections of the skin and nails, especially in immunocompromised individuals (Egbuta et al., 2017). Furthermore, when exposed to certain temperatures and humidity, filamentous fungi such as Penicillium can produce mycotoxins that are not only harmful to human health, but can also lead to hormonal disruption, immunosuppression and even death of livestock in animal houses (Brown et al., 2012; Egbuta et al., 2017; Richard, 2007).

The control of bioaerosols from an environmental management point of view is therefore crucial, especially in indoor closed environments such as animal houses. Filtration is a widely used method to capture bioaerosols through collision and precipitation by varying the filter material, pore size and air flow rate (Liu et al., 2017). Combining the appropriate growth temperature and relative humidity intervals for the target bioaerosol, and suppressing the emission of the corresponding bioaerosol by changing the temperature and humidity. Ozone as a strong oxidising agent has a strong removing effect on bacteria, fungi, spores etc., but at the same time it can cause irritation to the respiratory tract of humans or animals (Song et al., 2022). The current use of ozone for disinfection must be in a controlled environment because. The current use of ozone for disinfection must be in a controlled environment where the effective disinfection concentration exceeds the recommended safety threshold (Lu et al., 2025).. However, this study found that at lower ozone concentrations there may also be negative effects on bioaerosol emissions, providing insights for the future development of low-concentration ozone inactivation technologies.

  - Limitations

In this experiment, based on the work by Crawford et al. (2023), the post processing used to classify between airborne fungi and bacteria was further refined by setting the bacterial filter threshold for the fluorescence channels 5-8 and restricting modal fluorescence reduced the conflation pathway and showed good classification results. The 2D classification space presented by the UMAP classifier may however not contain all hotspot counts when using twice the standard deviation as the classification boundary and will be examined in future studies.

Secondly, due to the limited duration of the database, interpretation of some variables using GAM may result in high complexity and uncertainty in interpretation. Temperature and RH did not change significantly during the sampling period, and there were no significant weather events such as precipitation, which may have enhanced or mitigated certain bioaerosol emissions. Therefore, the model may need to be retrained under a wider range of weather conditions to fully capture the T, RH responses. At the same time, there is still space to improve the fitting accuracy of the model due to the low concentration of bioaerosols in the natural environment and the limitations of the current real-time measurement instruments (An et al., 2024; Šantl-Temkiv et al., 2020).

CONCLUSIONS

In agricultural environments—particularly during the planning and operation of livestock housing systems—it is essential to implement effective protective measures to mitigate farm workers and nearby inhabitants’ exposure to bioaerosols. A key step toward this goal is the identification of bioaerosol sources and a better understanding of their emission patterns and airborne concentrations.

In this study, we employed the Uniform Manifold Approximation and Projection (UMAP) technique to classify bioaerosol particles collected using the Multiparameter Bioaerosol Spectrometer (MBS), and we applied a Generalized Additive Model (GAM) to investigate nonlinear relationships between bioaerosol concentrations, meteorological parameters, and trace gases. The main findings are summarized as follows: (delate)

- Bioaerosol particles at the NWFP station were detected mainly from the Northeast and south-west sectors, and high-intensity point sources were clearly identified. The north-eastern sector was in the direction of animal houses while the south-western sector consisted mainly of farmlands. And the peak changes in bioaerosol concentrations monitored in real time coincide with the timing of animal behaviour recorded at the site.

- Bioaerosols appear to be generated from mainly local source emissions compared to other wind sectors. The temporal distribution showed a peak on the second day of measurement and several smaller peaks at intervals in the following days, but these dissipated quickly showing an overall decreasing trend. This is likely due to specific agricultural activities and or animal activities. At the same time, the dispersion can be seen downwind of the point source of the animal house, but the dispersion distance is uncertain.

- For bioaerosols, our model captures that the effect on bioaerosol releases remains negative at relatively low ozone concentration windows. This finding is informative for improving future real-time bioaerosol detection and monitoring applications, as there is still a lack of monitoring of the response of bioaerosols to real-time variations in ozone concentrations in a field environment. It may also suggest the possibility of adjusting the ozone concentration to the general ambient concentration scale in laboratory studies and investigating the mechanism of the effect on bioaerosols in this concentration window. However, it also needs to be considered an uncertainty that there may be a negative correlation effect due to a reduction in turbulence, an increase in atmospheric concentrations of mixed ozone and a decrease in emissions of source fungal spores. This uncertainty can inform further research.

Overall, from a bioaerosol regulatory perspective, it is important to strengthen monitoring around and downwind of agricultural facilities. From a pollution control point of view, the possibility of applying temperature-humidity regulation mechanism, ozone sterilisation within safe concentration thresholds for livestock houses cleaning could be discussed. Future research will focus on 1) improvement of bioaerosol classification techniques; 2) increasing routine real-time monitoring to improve sampling periods to observe the effects of a wider range of meteorological drivers on bioaerosols; 3) Study of general patterns and relationships between bioaerosol releases and target trace gases in conjunction with laboratory controlled variable experiments. These works can further help to accurately classify bioaerosols and improve the existing instrument technology to gain more in-depth insights into the general laws of bioaerosol emissions.

REFERENCES

Akaike, H., 1987. Factor analysis and AIC. Psychometrika 52, 317-332.

Akiba, T., Sano, S., Yanase, T., Ohta, T., Koyama, M., 2019. Optuna: A next-generation hyperparameter optimization framework, Proceedings of the 25th ACM SIGKDD international conference on knowledge discovery & data mining, pp. 2623-2631.

Almeida, E., Caeiro, E., Todo-Bom, A., Ferro, R., Dionísio, A., Duarte, A., Gazarini, L., 2018. The influence of meteorological parameters on Alternaria and Cladosporium fungal spore concentrations in Beja (Southern Portugal): preliminary results. Aerobiologia 34, 219-226.

An, T., Liang, Z., Chen, Z., Li, G., 2024. Recent progress in online detection methods of bioaerosols. Fundamental Research 4, 442-454.

Anguita, D., Ghelardoni, L., Ghio, A., Oneto, L., Ridella, S., 2012. The'K'in K-fold Cross Validation, ESANN, pp. 441-446.

Bennett, K.D., Willis, K.J., 2001. Pollen. Tracking environmental change using lake sediments: terrestrial, algal, and siliceous indicators, 5-32.

Bigg, E., Soubeyrand, S., Morris, C., 2014. Rainfall feedback via persistent effects on bioaerosols. Atmospheric Chemistry & Physics Discussions 14, 25503-25532.

Breitenbach, M., Simon-Nobbe, B., 2002. The Allergens of Cladosporium. Fungal allergy and pathogenicity 81, 48-72.

Carslaw, D.C., Ropkins, K., 2012. Openair—an R package for air quality data analysis. Environmental Modelling & Software 27, 52-61.

Chai, T., Draxler, R.R., 2014. Root mean square error (RMSE) or mean absolute error (MAE). Geoscientific model development discussions 7, 1525-1534.

Cheng, B., Ma, Y., Feng, F., Zhang, Y., Shen, J., Wang, H., Guo, Y., Cheng, Y., 2021. Influence of weather and air pollution on concentration change of PM2. 5 using a generalized additive model and gradient boosting machine. Atmospheric environment 255, 118437.

Chung, H., Zak, D.R., Lilleskov, E.A., 2006. Fungal community composition and metabolism under elevated CO 2 and O 3. Oecologia 147, 143-154.

Crawford, I., Bower, K., Topping, D., Di Piazza, S., Massabò, D., Vernocchi, V., Gallagher, M., 2023. Towards a UK Airborne Bioaerosol Climatology: Real-Time Monitoring Strategies for High Time Resolution Bioaerosol Classification and Quantification. Atmosphere 14, 1214.

Crawford, I., Ruske, S., Topping, D., Gallagher, M., 2015. Evaluation of hierarchical agglomerative cluster analysis methods for discrimination of primary biological aerosol. Atmospheric Measurement Techniques 8, 4979-4991.

Crawford, I., Topping, D., Gallagher, M., Forde, E., Lloyd, J.R., Foot, V., Stopford, C., Kaye, P., 2020. Detection of airborne biological particles in indoor air using a real-time advanced morphological parameter uv-lif spectrometer and gradient boosting ensemble decision tree classifiers. Atmosphere 11, 1039.

Derwent, R.G., Witham, C.S., Utembe, S.R., Jenkin, M.E., Passant, N.R., 2010. Ozone in Central England: the impact of 20 years of precursor emission controls in Europe. environmental science & policy 13, 195-204.

Diez, S., Lacy, S., Coe, H., Urquiza, J., Priestman, M., Flynn, M., Marsden, N., Martin, N.A., Gillott, S., Bannan, T., 2024. Long-term evaluation of commercial air quality sensors: an overview from the QUANT (Quantification of Utility of Atmospheric Network Technologies) study. Atmospheric Measurement Techniques 17, 3809-3827.

Diez, S., Lacy, S.E., Bannan, T.J., Flynn, M., Gardiner, T., Harrison, D., Marsden, N., Martin, N.A., Read, K., Edwards, P.M., 2022. Air pollution measurement errors: is your data fit for purpose? Atmospheric Measurement Techniques 15, 4091-4105.

dos Santos, M.P., Heinemann, A.B., Stone, L.F., da Matta, D.H., de Castro, J.R., dos Santos, A.B., 2021. Nitrogen determination in irrigated rice using spectral reflectance. Agronomy Journal 113, 5087-5101.

Du, J., Qiao, F., Lu, P., Yu, L., 2022. Forecasting ground-level ozone concentration levels using machine learning. Resources, Conservation and Recycling 184, 106380.

Foot, V.E., Kaye, P.H., Stanley, W.R., Barrington, S.J., Gallagher, M., Gabey, A., 2008. Low-cost real-time multiparameter bio-aerosol sensors, Optically Based Biological and Chemical Detection for Defence IV. SPIE, pp. 78-89.

Friedman, J.H., 2001. Greedy function approximation: a gradient boosting machine. Annals of statistics, 1189-1232.

Gabbarini, V., Rossi, R., Ciparisse, J., Puleio, A., Malizia, A., Gaudio, P., 2019. An UltraViolet Laser-Induced Fluorescence (UV-LIF) system to detect, identify and measure the concentration of biological agents in the environment: a preliminary study. Journal of Instrumentation 14, C07009.

Gibbs, S.G., Green, C.F., Tarwater, P.M., Mota, L.C., Mena, K.D., Scarpino, P.V., 2006. Isolation of antibiotic-resistant bacteria from the air plume downwind of a swine confined or concentrated animal feeding operation. Environmental Health Perspectives 114, 1032-1037.

Gladding, T., Rolph, C.A., Gwyther, C., Kinnersley, R., Walsh, K., Tyrrel, S., 2020. Concentration and composition of bioaerosol emissions from intensive farms: pig and poultry livestock. Journal of environmental management 272, 111052.

Gohel, R., Siabbweka, M., Singh, R., Thanki, A.A., Jadeja, U., 2024. Sampling, detection, and health impacts of bioaerosols emitted from livestock facilities, Bioaerosols Emission from Anthropogenic Sources. Elsevier, pp. 141-161.

Gosselin, M.I., Rathnayake, C.M., Crawford, I., Pöhlker, C., Fröhlich-Nowoisky, J., Schmer, B., Després, V.R., Engling, G., Gallagher, M., Stone, E., 2016. Fluorescent bioaerosol particle, molecular tracer, and fungal spore concentrations during dry and rainy periods in a semi-arid forest. Atmospheric Chemistry and Physics 16, 15165-15184.

Grgacic, E.V., Anderson, D.A., 2006. Virus-like particles: passport to immune recognition. Methods 40, 60-65.

Grinn-Gofroń, A., Nowosad, J., Bosiacka, B., Camacho, I., Pashley, C., Belmonte, J., De Linares, C., Ianovici, N., Manzano, J.M.M., Sadyś, M., 2019. Airborne Alternaria and Cladosporium fungal spores in Europe: Forecasting possibilities and relationships with meteorological parameters. Science of the Total Environment 653, 938-946.

GSJ, S., Ramakodi, M.P., TVBPS, R., 2023. Review of bioaerosols from different sources and their health impacts. Environmental Monitoring and Assessment 195, 1321.

Hassan, A., Howayda, M., Hanan, K.M., 2017. Antimicrobial Potential of Ozone on Fungal and Bacterial Contamination of Animal Feed That Caused Diseases in Some Buffalo Farms, 1st International Conference, Animal Health Research Institute, ARC, Egypt, pp. 9-13.

Hastie, T.J., 2017. Generalized additive models. Statistical models in S, 249-307.

Hawkins, J., Beaumont, D., Sint, H., Harris, P., 2023a. The North Wyke Farm Platform: Field Survey Data.

Hawkins, J., Griffith, B., Sint, H., Harris, P., 2023b. The north wyke farm platform: Design, establishment and development.

Herman, A.A., Hastie, T.J., 1990. An analysis of gestational age, neonatal size and neonatal death using nonparametric logistic regression. Journal of Clinical Epidemiology 43, 1179-1190.

Hirst, J., Stedman, O., Hurst, G., 1967. Long-distance spore transport: vertical sections of spore clouds over the sea. Microbiology 48, 357-377.

Huffman, J.A., Perring, A.E., Savage, N.J., Clot, B., Crouzy, B., Tummon, F., Shoshanim, O., Damit, B., Schneider, J., Sivaprakasam, V., 2020. Real-time sensing of bioaerosols: Review and current perspectives. Aerosol Science and Technology 54, 465-495.

Katz, A., Alimova, A., Xu, M., Rudolph, E., Shah, M.K., Savage, H.E., Rosen, R.B., McCormick, S.A., Alfano, R.R., 2003. Bacteria size determination by elastic light scattering. IEEE Journal of Selected Topics in Quantum Electronics 9, 277-287.

Ko, G., Simmons Iii, O.D., Likirdopulos, C.A., Worley-Davis, L., Williams, M., Sobsey, M.D., 2008. Investigation of bioaerosols released from swine farms using conventional and alternative waste treatment and management technologies. Environmental science & technology 42, 8849-8857.

Könemann, T., Savage, N., Klimach, T., Walter, D., Fröhlich-Nowoisky, J., Su, H., Pöschl, U., Huffman, J.A., Pöhlker, C., 2019. Spectral Intensity Bioaerosol Sensor (SIBS): an instrument for spectrally resolved fluorescence detection of single particles in real time. Atmospheric Measurement Techniques 12, 1337-1363.

Korzun, W., Hall, J., Sauer, R., 2008. The effect of ozone on common environmental fungi. American Society for Clinical Laboratory Science 21, 107-111.

Kumar, P., Kausar, M.A., Singh, A., Singh, R., 2021. Biological contaminants in the indoor air environment and their impacts on human health. Air Quality, Atmosphere & Health 14, 1723-1736.

Kumar, P., Tiwari, S., Uguz, S., Li, Z., Gonzalez, J., Wei, L., Samuel, R.S., Zhang, Y., Yang, X., 2024. Bioaerosols downwind from animal feeding operations: A comprehensive review. Journal of Hazardous Materials, 135825.

Landau, S., Everitt, B.S., 2003. A handbook of statistical analyses using SPSS. Chapman and Hall/CRC.

Liu, G., Xiao, M., Zhang, X., Gal, C., Chen, X., Liu, L., Pan, S., Wu, J., Tang, L., Clements-Croome, D., 2017. A review of air filtration technologies for sustainable and healthy building ventilation. Sustainable cities and society 32, 375-396.

Loaiza, J.G., Rangel-Peraza, J.G., Monjardín-Armenta, S.A., Bustos-Terrones, Y.A., Bandala, E.R., Sanhouse-García, A.J., Rentería-Guevara, S.A., 2023. Surface water quality assessment through remote sensing based on the box–cox transformation and linear regression. Water 15, 2606.

Lu, K., Zhang, J., Li, Z., Li, Y., 2025. Bioaerosols in Various Working and Living Environments and Their Control Measure: A Review. Current Pollution Reports 11, 24.

Lundberg, S.M., Lee, S.-I., 2017. A unified approach to interpreting model predictions. Advances in neural information processing systems 30.

Maya-Manzano, J.M., Smith, M., Markey, E., Hourihane Clancy, J., Sodeau, J., O´ Connor, D.J., 2021. Recent developments in monitoring and modelling airborne pollen, a review. Grana 60, 1-19.

McInnes, L., Healy, J., Melville, J., 2018. Umap: Uniform manifold approximation and projection for dimension reduction. arXiv preprint arXiv:1802.03426.

Mpaka, Y.W., von der Heyden, B.P., 2024. Enhanced classification of pyrite generations based on mineral chemistry using uniform manifold approximation and projection (UMAP). Journal of African Earth Sciences 218, 105363.

Nicoletti, R., Russo, E., Becchimanzi, A., 2024. Cladosporium—Insect Relationships. Journal of Fungi 10, 78.

Orr, R., Griffith, B., Rose, S., Hatch, D., Hawkins, J., Murray, P., 2011. Designing and creating the North Wyke Farm Platform. Abstracts Catchment Science 2011, Dublin, 14-16 September 2011, 35.

Pan, Y.-L., Aptowicz, K., Arnold, J., Cheng, S., Kalume, A., Piedra, P., Wang, C., Santarpia, J., Videen, G., 2022. Review of elastic light scattering from single aerosol particles and application in bioaerosol detection. Journal of Quantitative Spectroscopy and Radiative Transfer 279, 108067.

Patel, T.Y., Buttner, M., Rivas, D., Cross, C., Bazylinski, D.A., Seggev, J., 2018. Variation in airborne fungal spore concentrations among five monitoring locations in a desert urban environment. Environmental monitoring and assessment 190, 1-10.

Qi, X., Mei, G., Cuomo, S., Liu, C., Xu, N., 2021. Data analysis and mining of the correlations between meteorological conditions and air quality: A case study in Beijing. Internet of Things 14, 100127.

Radon, K., Schulze, A., Ehrenstein, V., Van Strien, R.T., Praml, G., Nowak, D., 2007. Environmental exposure to confined animal feeding operations and respiratory health of neighboring residents. Epidemiology 18, 300-308.

Ramsey, N.R., Klein, P.M., Moore III, B., 2014. The impact of meteorological parameters on urban air quality. Atmospheric Environment 86, 58-67.

Robinson, N.H., Allan, J., Huffman, J., Kaye, P.H., Foot, V., Gallagher, M., 2013. Cluster analysis of WIBS single-particle bioaerosol data. Atmospheric Measurement Techniques 6, 337-347.

Sabban, L., van Hout, R., 2011. Measurements of pollen grain dispersal in still air and stationary, near homogeneous, isotropic turbulence. Journal of Aerosol Science 42, 867-882.

Sajjad, B., Hussain, S., Rasool, K., Hassan, M., Almomani, F., 2023. Comprehensive insights into advances in ambient bioaerosols sampling, analysis and factors influencing bioaerosols composition. Environmental Pollution, 122473.

Sakia, R.M., 1992. The Box-Cox transformation technique: a review. Journal of the Royal Statistical Society Series D: The Statistician 41, 169-178.

Šantl-Temkiv, T., Sikoparija, B., Maki, T., Carotenuto, F., Amato, P., Yao, M., Morris, C.E., Schnell, R., Jaenicke, R., Pöhlker, C., 2020. Bioaerosol field measurements: Challenges and perspectives in outdoor studies. Aerosol Science and Technology 54, 520-546.

Sauvageat, E., Zeder, Y., Auderset, K., Calpini, B., Clot, B., Crouzy, B., Konzelmann, T., Lieberherr, G., Tummon, F., Vasilatou, K., 2020. Real-time pollen monitoring using digital holography. Atmospheric Measurement Techniques 13, 1539-1550.

Savage, N.J., Krentz, C.E., Könemann, T., Han, T.T., Mainelis, G., Pöhlker, C., Huffman, J.A., 2017. Systematic characterization and fluorescence threshold strategies for the wideband integrated bioaerosol sensor (WIBS) using size-resolved biological and interfering particles. Atmospheric Measurement Techniques 10, 4279-4302.

Scaife, H., Crook, B., Jordinson, G., 2008. PPC bioaerosols (dust and particulates) potentially emanating from intensive agriculture and potential effects on human health. Environment Agency.

Servén, D., Brummitt, C., 2018. pygam: Generalized additive models in python. Zenodo.

Smit, L.A., Hooiveld, M., van der Sman-de Beer, F., Opstal-van Winden, A.W., Beekhuizen, J., Wouters, I.M., Yzermans, C.J., Heederik, D., 2014. Air pollution from livestock farms, and asthma, allergic rhinitis and COPD among neighbouring residents. Occupational and Environmental Medicine 71, 134-140.

Song, L., Zhou, J., Wang, C., Meng, G., Li, Y., Jarin, M., Wu, Z., Xie, X., 2022. Airborne pathogenic microorganisms and air cleaning technology development: A review. Journal of Hazardous Materials 424, 127429.

Stępalska, D., Wołek, J., 2009. Intradiurnal periodicity of fungal spore concentrations (Alternaria, Botrytis, Cladosporium, Didymella, Ganoderma) in Cracow, Poland. Aerobiologia 25, 333-340.

Tang, K., Sánchez-Parra, B., Yordanova, P., Wehking, J., Backes, A.T., Pickersgill, D.A., Maier, S., Sciare, J., Pöschl, U., Weber, B., 2022. Bioaerosols and atmospheric ice nuclei in a Mediterranean dryland: community changes related to rainfall. Biogeosciences 19, 71-91.

Tang, W., Kuehn, T., Simcik, M.F., 2015. Effects of temperature, humidity and air flow on fungal growth rate on loaded ventilation filters. Journal of occupational and environmental hygiene 12, 525-537.

Uetake, J., Tobo, Y., Uji, Y., Hill, T.C., DeMott, P.J., Kreidenweis, S.M., Misumi, R., 2019. Seasonal changes of airborne bacterial communities over Tokyo and influence of local meteorology. Frontiers in microbiology 10, 1572.

Wang, B., Li, Y., Xie, Z., Du, S., Zeng, X., Hou, J., Ma, T., 2020. Characteristics of microbial activity in atmospheric aerosols and its relationship to chemical composition of PM2. 5 in Xi'an, China. Journal of Aerosol Science 146, 105572.

Wen, G., Liang, Z., Xu, X., Cao, R., Wan, Q., Ji, G., Lin, W., Wang, J., Yang, J., Huang, T., 2020. Inactivation of fungal spores in water using ozone: Kinetics, influencing factors and mechanisms. Water research 185, 116218.

Whitby, C., Ferguson, R.M., Colbeck, I., Dumbrell, A.J., Nasir, Z.A., Marczylo, E., Kinnersley, R., Douglas, P., Drew, G., Bhui, K., 2022. Compendium of analytical methods for sampling, characterization and quantification of bioaerosols, Advances in Ecological Research. Elsevier, pp. 101-229.

Xu, C., Wei, M., Chen, J., Wang, X., Zhu, C., Li, J., Zheng, L., Sui, G., Li, W., Wang, W., 2017. Bacterial characterization in ambient submicron particles during severe haze episodes at Ji’nan, China. Science of the Total Environment 580, 188-196.

Yan, Y., Ren, P., Meng, Q., 2024. Quantitative evaluation of the synergistic effects of multiple meteorological parameters on air pollutants based on generalized additive models. Urban Climate 55, 101965.

Yang, Y., Yang, L., Hu, X., Shen, Z., 2024. Characteristics of bioaerosols under high-ozone periods, haze episodes, dust storms, and normal days in Xi’an, China. Particuology 90, 140-148.

Zhao, Y., Hou, Y., Wang, F., 2024. Ecological risk and pollution assessment of heavy metals in farmland soil profile with consideration of atmosphere deposition in central China. Toxics 12, 45.

- Acknowledgements

ZC acknowledges the EPSRC Centre for Doctoral Training in Aerosol Science for funding, grant reference EP/S023593/1;

LC and JSW were supported by the Biotechnology and Biological Sciences Research Council Institute Strategic Programmes: Resilient Farming Futures (BB/X010961/1; BBS/E/RH/230004A) and Growing Health (BBS/E/RH/230003A; BBS/E/RH/230003C), and the North Wyke Farm Platform (BBS/E/RH/23NB0008).